Motorized Valve A20-T15-S2-B

<http://www.tonheflow.com/product/detail/113>

 A20-T15-S2-B 1/2" DN15 SS316 CR303 AC220v motorized valve with manual override



CR303 Wiring Diagram (3 Wires Control)



